## CP Controller Enquiry Form
| System Enquiry/Specification : CP Controller | [5 empty] | MDC Ref: |  | Notes
1 | Customer: | [5 empty] | Date: |  | Cell MUST have data
| Customer Ref: | [7 empty] | Please complete a separate sheet for each type required.
Project Ref:
| Quantity: |  |  | Delivery req'd:
2 | Enclosure Type: |  | Optimum enclosure size will be proposed based on requirements.
| Painted Steel: |  | (IP66) | Stainless Steel 304: |  |  | (IP66)
| GRP: |  | (IP66) | Stainless Steel 316L: |  |  | (IP66)
| Other/Viewing Window: | [7 empty] | Some CPC10A versions may be available as mounting plate assemblies.
3 | CPC10A Details:
| Nominal Input Voltage: |  | 12VDC or 24VDC only | [5 empty] | Working input range: 12V: 10-16V ¦ 24V: 20-32V
| Terminals / Protection: | PCB Term's | Din-Rail Terms | MCB 1P | MCB 2P | Aux Contacts | M8 Stud |  | Direct conenction to MCBs: 25mm² max
| Input Power : | Y | [5 empty] | Defaults pre-populated. | PCB Terminals: Power max 10mm², H/C 6mm², Signal 2.5mm²
| Output Power : | Y | [6 empty] | DIN-rail screw terminals: Power max 35mm², H/C max 6mm², Signal max 2.5mm²
| Alarms / Signaling : | Y |  |  |  | Aux contacts apply to MCBs only |  |  | M8 stud suitable for cable up to 70mm²
| Options: | Y/N
| RS232 instead of RS485 : |  | - Default is USB & RS485 COM Port
| 4-20mA Transducers: |  | - Option: 0T = none, 3T = 3 user programmable loop-powered outputs | [5 empty] | T = "Transducer"
| Serial to Ethernet Module : |  | - Requires RS485 COM Port option
GPS Interrupt Timer :
| Other: | [7 empty] | Provide full details
4 | CPC25A/CPC50A Details:
| Nominal Input Voltage: |  | - 12/24/36/48 (VDC) | [5 empty] | Working input range: 12V: 10-16V ¦ Others: 20-64V
| Maximum Output Voltage: |  | - Maximum output voltage is approximately 1V less than Input Voltage
| Maximum Output Current: |  | - 25A / 50A
| Terminals / Protection: | Din-Rail Terms | MCB 1P | MCB 2P | Aux Contacts | M8 Stud
| Input Power : |  | Y |  |  | Y | Defaults pre-populated. |  | DIN-rail screw terminals: Power max 35mm², H/C max 6mm², Signal max 2.5mm²
| Output Power : |  | Y |  |  | Y |  |  | M8 stud suitable for cable up to 70mm²
| Half-Cell Input : | Y | [6 empty] | Half-Cell DIN-Rail screw terminals for cable up to 16mm²
| Alarms / Signaling : | Y |  |  | Aux contacts apply to MCBs only |  |  |  | Signal/Alarm DIN-rail screw terminals suitable for cable up to 2.5mm²
| Options: | Y/N
| RS232 instead of RS485 : |  | - Default is USB & RS485 COM Port
| 4-20mA Transducers: |  | - Option: 0T = none, 3T = 3 user programmable loop-powered outputs
| Serial to Ethernet Module : |  | - Requires RS485 COM Port option
GPS Interrupt Timer :
| Other : | [7 empty] | Provide full details
| Glands: | Type/Material | Size | Quantity
| Input : | Nylon | M25 | 2 | Defaults pre-populated.
| Output : | Nylon | M25 | 2 | Enclosures supplied with nylon Blanking Plugs for shipping. Default glands supplied in Nylon, please specify other types (NPB/SWA, etc.)
| Half-Cell : | Nylon | M16 | 1
| Alarms : | Nylon | M16 | 2
| Signals : | Nylon | M25 | 1
| Other / Spare : | Nylon | M16 | 2
| Earth : | Enter alternative if required (e.g. External M8 stud).
| Connection : | Default Earth connection: to M6 chassis plate stud
| Nameplate/Tag Plate : | (Y/N)
| Required : | N | [6 empty] | Default supply is without Nameplate/Tag Plate
| Details : (Position: door, enclosure side, etc.) | [7 empty] | Standard nameplate size: 100mm(H) x 150mm(W)